| Visual Inspection Details |  |
| --- | --- |
| Building Name | 24107 |
| Building Common Name | Entry Stairs 2 |
| Location Name | Stairs |
| Visual Report |  |
| Exterior Elements | Stairs, Stairs Landing, Railings, Integrations |
| Water Proofing Elements | Flashings, Sealants |
| Visual Review | Good |
| Any Visual Signs of leaks | No |
| Further Invasive Review Required | No |
| Condition Assessment | Pass |
| Additional Considerations or Concerns |  |
| Life Expectancy (EEE) | 1-4 Years |
| Life Expectancy (LBC) | 4-7 Years |
| Life Expectancy (AWE) | 4-7 Years |

| Visual Photos |  |  |  |
| --- | --- | --- | --- |