| Visual Inspection Details |  |
| --- | --- |
| Building Name | 24107 |
| Apartment Name | 29 |
| Location Name | Front Deck |
| Visual Report |  |
| Exterior Elements | Decks, Railings, Integrations, Door Threshold, Stucco Interface |
| Water Proofing Elements | Flashings, Waterproofing, Coatings, Sealants |
| Visual Review | Bad |
| Any Visual Signs of leaks | No |
| Further Invasive Review Required | No |
| Condition Assessment | Future Inspection |
| Additional Considerations or Concerns | Impression outline, table leg rust on deck waterproofing coating. Crack on the side of the deck, indicating water getting into the structure. Repair is necessary. |
| Life Expectancy (EEE) | 1-4 Years |
| Life Expectancy (LBC) | 4-7 Years |
| Life Expectancy (AWE) | 0-1 Years |

| Visual Photos |  |  |  |
| --- | --- | --- | --- |