| Visual Inspection Details |  |
| --- | --- |
| Building Name | 24147 |
| Apartment Name | 286 |
| Location Name | Deck |
| Visual Report |  |
| Exterior Elements | Decks, Integrations, Door Threshold, Stucco Interface, Railings |
| Water Proofing Elements | Flashings, Waterproofing, Coatings, Sealants |
| Visual Review | Bad |
| Any Visual Signs of leaks | Yes |
| Further Invasive Review Required | No |
| Condition Assessment | Fail |
| Additional Considerations or Concerns | Outside edge metal completely rusted. Extensive surface rust at gutter. Standing water in gutter. Open condition at deck edge metal. Needs replacement. |
| Life Expectancy (EEE) | 0-1 Years |
| Life Expectancy (LBC) | 4-7 Years |
| Life Expectancy (AWE) | 0-1 Years |

| Visual Photos |  |  |  |
| --- | --- | --- | --- |